50× TAE 
Sambrook & Russell (Molecular Cloning Book):

| Component | Final concentration in 50× stock | Amount for 1 L |
| --- | --- | --- |
| Tris base | 2.0 M | 242 g |
| Glacial acetic acid | 1.0 M | 57.1 mL |
| 0.5 M EDTA (pH 8.0) | 50 mM | 100 mL |

Preparation (1 L of 50× TAE)

- Add 242 g Tris base to ~700 mL dH₂O.

- Add 57.1 mL glacial acetic acid.

- Add 100 mL of 0.5 M EDTA, pH 8.0.

- Adjust volume to 1 L with diH₂O.

- No sterilization is usually required. Store at room temperature.

Working solutions

- 1× TAE: 20 mL 50× stock + 980 mL water

- 0.5× TAE: 10 mL 50× stock + 990 mL water

For agarose gels, many labs run:

- 1× TAE for routine work

- 0.5× TAE for larger gels or when reducing heating

0.5 M EDTA pH 8.0

- 186.1 g disodium EDTA·2H₂O

- ~800 mL water

- Adjust pH to 8.0 with NaOH pellets or ~10 N NaOH 
* EDTA will not fully dissolve until pH approaches 8

- Bring to 1 L

- Autoclave (optional)Top of FormBottom of Form