4M Guanidine thiocyanate, pH 5 Buffer

(Adapted from FPS protocol)

To use 500g of Guanidine thiocyanate:

- In an autoclaved 2L beaker add:

- 1 autoclaved stir bar

- 454.93mL DEPC water  (first add 250ml; after added the GT add the remaining 204.93 ml)

- Add the guanidine thiocyanate (500g), using a sterile spatula. Add the powder slowly, to avoid the stir bar to get obstruct.

Cover all the beaker with aluminum foil and allow to stir for several hours or overnight until solids are dissolved.

- Add in order:

- 26.449g PVP-40

- 70.52mL 3M Sodium Acetate

- 52.90mL 0.5M EDTA

- stir until solids are dissolved

- Transfer the Guanidine solution and the stir bar into an autoclaved 1-liter bottle. Cover the bottle with aluminum foil and stir.

- Adjust pH to 5 using glacial acetic acid.  Do NOT use HCl or anything with chlorine to adjust pH.

To use 250g of Guanidine thiocyanate, halve measures.

*Guanidine is difficult to remove from the jar and weigh as a solid, so it’s recommended to use an entire new bottle to make a batch of solution (usually 250 or 500g).

*Using a larger bottle in step 3 will make it difficult to adjust the pH in step 4, so use a bottle that is just the right size for the volume of buffer being made.